## Test Execution Matrix
SCADA Penetration Test — Test Execution Matrix
Confidential — authorization required before active testing. Safety monitor mandatory for 'Restricted' tests. Status: Not Started / In Progress / Pass / Fail / Skipped / Blocked
TC ID | Test Case | Target | Technique / Tool | OT Impact | Risk | Status | Tester | Date | Evidence Ref | Finding ID | Notes
Phase 1 — Reconnaissance
TC-1-01 | Passive network traffic capture | OT network segment | Wireshark / tcpdump | Safe | Info | Not Started
TC-1-02 | Architecture & document review | Diagrams/configs | Manual review | Safe | Info | Not Started
TC-1-03 | Asset enumeration | All in-scope hosts | Passive / network docs | Safe | Info | Not Started
TC-1-04 | Protocol identification | Comms network | Protocol analyzer | Safe | Info | Not Started
TC-1-05 | OSINT firmware/CVE advisories | Vendor/devices | NVD, ICS-CERT, Shodan | Safe | Info | Not Started
TC-1-06 | Physical walkthrough | Control room/cabinets | Manual inspection | Safe | Low | Not Started
Phase 2 — Network Scanning
TC-2-01 | Host discovery (low-noise) | OT subnets | Nmap (rate-limited) | Caution | Low | Not Started
TC-2-02 | Port scan — SCADA ports | All hosts | Nmap 502/20000/2404/102/44818/4840 | Caution | Medium | Not Started
TC-2-03 | OS / device fingerprinting | Discovered hosts | Banner grab / TTL | Caution | Low | Not Started
TC-2-04 | VLAN / segmentation mapping | Network fabric | Topology analysis | Safe | Medium | Not Started
TC-2-05 | Firewall / ACL rule review | Boundary devices | Config review | Safe | Medium | Not Started
TC-2-06 | Wireless / radio survey | RF environment | SDR / WiFi analyzer | Caution | Medium | Not Started
Phase 3 — Vulnerability Assessment
TC-3-01 | CVE / patch level review | HMI/MTU/PLC/RTU/Historian | Version vs NVD/ICS-CERT | Safe | High | Not Started
TC-3-02 | Default credential check | HMI/RTU/PLC interfaces | Vendor default list | Caution | High | Not Started
TC-3-03 | Configuration review | SCADA server/HMI/historian | Manual / benchmark | Safe | Medium | Not Started
TC-3-04 | Protocol weakness analysis | Modbus/DNP3/IEC 60870-5 | Function-code analysis | Caution | High | Not Started
TC-3-05 | TLS / certificate review | Historian/OPC-UA/remote | sslyze / manual | Safe | Medium | Not Started
TC-3-06 | Remote access audit | VPN/RDP/cellular modem | Inventory + config | Safe | High | Not Started
TC-3-07 | Physical security review | Cabinets/USB/serial | Manual inspection | Safe | Medium | Not Started
Phase 4.1 — Control Center
TC-4-01 | Authentication bypass/brute force | HMI login | Hydra / manual | Caution | High | Not Started
TC-4-02 | Session management / hijack | HMI sessions | Token analysis | Caution | High | Not Started
TC-4-03 | SQL injection | Historian DB via HMI | sqlmap / manual | Caution | High | Not Started
TC-4-04 | Privilege escalation | HMI / server OS | Local exploit | Restricted | High | Not Started
TC-4-05 | Lateral movement | HMI -> SCADA server | Pivot techniques | Restricted | High | Not Started
TC-4-06 | Malicious HMI script injection | HMI display | Script/macro injection | Restricted | High | Not Started
Phase 4.2 — Comms / Protocols
TC-4-07 | Modbus unauthenticated read | PLC/RTU | PyModbus / ModbusPal | Caution | High | Not Started
TC-4-08 | Modbus write (controlled) | Test PLC only | PyModbus | Restricted | Critical | Not Started
TC-4-09 | DNP3 spoofing (impersonate MTU) | RTU | DNP3 tools | Restricted | Critical | Not Started
TC-4-10 | Man-in-the-middle (ARP spoof) | OT segment | Ettercap / Bettercap | Restricted | High | Not Started
TC-4-11 | Replay attack | Control packets | Captured packet replay | Restricted | Critical | Not Started
TC-4-12 | Rogue device connection | OT switch port | Unapproved host + NAC | Caution | High | Not Started
Phase 4.3 — Field Controllers
TC-4-13 | Default credentials eng. port | PLC/RTU | Vendor defaults | Restricted | High | Not Started
TC-4-14 | Unauthenticated memory/IO read | PLC/RTU | Native protocol read | Restricted | High | Not Started
TC-4-15 | Ladder logic download (read) | PLC | Engineering software | Restricted | High | Not Started
TC-4-16 | Firmware version vs CVE | PLC/RTU | Version check | Caution | Medium | Not Started
TC-4-17 | Debug/serial/JTAG access | Controllers | Physical interface | Restricted | High | Not Started
Phase 5 — Post-Exploitation
TC-5-01 | IT -> OT pivot | HMI -> PLC/RTU | Pivot chain | Restricted | Critical | Not Started
TC-5-02 | Persistence simulation (no install) | Compromised host | Demonstrate only | Restricted | High | Not Started
TC-5-03 | Data exfiltration simulation | Historian/setpoints | Controlled extraction | Caution | High | Not Started
TC-5-04 | Falsify HMI readings (blind op) | HMI | Spoofed telemetry demo | Restricted | Critical | Not Started
TC-5-05 | Safety system (SIS) reachability | SIS from OT net | Connectivity test | Restricted | Critical | Not Started
Phase 6 — Reporting
TC-6-01 | Consolidate findings register | Findings | CVSS rating | Safe | - | Not Started
TC-6-02 | Draft attack narrative | Report | Compromise story | Safe | - | Not Started
TC-6-03 | Build risk heat map | Report | Risk matrix | Safe | - | Not Started
TC-6-04 | Remediation roadmap | Report | Short/med/long plan | Safe | - | Not Started
TC-6-05 | Executive summary | Report | Business summary | Safe | - | Not Started
TC-6-06 | Debrief & sign-off | Final delivery | Review meeting | Safe | - | Not Started

## Summary
Execution Summary
Total test cases | 39
Passed (no finding)
Failed (finding raised)
Skipped
Blocked
Critical findings
High findings
Medium findings
Low / Info findings
Pre-Execution Checklist
[ ] Signed written authorization obtained
[ ] Rules of Engagement signed
[ ] Maintenance window scheduled for Restricted tests
[ ] Safety monitor assigned & present
[ ] Out-of-band emergency comms established
[ ] Emergency stop / rollback procedure documented
[ ] Backups of PLC/RTU configs taken
[ ] Legal / compliance / safety review completed